## Dashboard
CALIBRATION DUE-DATE RADAR
Instrument calibration schedule ¦ type x due-month heatmap ¦ as of 09-Oct-2026 ¦ SAMPLE DATA (simulated)
DEPARTMENT | All | [5 empty] | Instruments in view: 160 ¦ change the amber cell to switch department
| ON-TIME % |  |  | OVERDUE |  |  |  |  | DUE NEXT 30 DAYS |  |  |  | LONGEST OVERDUE |  |  |  | STATUS
| 95% |  |  | 8 |  |  |  |  | 35 |  |  |  | 59 |  |  |  | ON TRACK
| instruments in date |  |  | past calibration due date |  |  |  |  | schedule these now |  |  |  | days past due |  |  |  | on-time threshold 93% / 85%
CALIBRATIONS DUE - instrument type (rows) x due month (columns)
Instrument type | Overdue | Oct | Nov | Dec |  | Jan |  | Feb | Mar | Apr | May |  | Jun | Jul | Aug |  | Sep+ | Total
Balance | 4 | 5 | 8 | 5 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 22
pH Meter | 0 | 5 | 5 | 6 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 16
HPLC | 0 | 2 | 2 | 4 |  | 3 |  | 3 | 2 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 16
Thermometer | 2 | 0 | 0 | 7 |  | 1 |  | 1 | 0 | 1 | 0 |  | 1 | 1 | 1 |  | 0 | 15
Pressure Gauge | 1 | 4 | 4 | 4 |  | 2 |  | 1 | 1 | 1 | 0 |  | 2 | 1 | 0 |  | 0 | 21
Autoclave Sensor | 1 | 4 | 4 | 3 |  | 7 |  | 3 | 1 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 23
Pipette | 0 | 2 | 6 | 3 |  | 4 |  | 1 | 2 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 18
Spectrophotometer | 0 | 4 | 3 | 2 |  | 2 |  | 3 | 3 | 1 | 2 |  | 1 | 5 | 3 |  | 0 | 29
| Overdue (red) |  |  | 1 due |  |  |  |  | 2-3 due |  |  |  | 4+ due (crunch) |  |  |  | Cell = number of instruments
ALL-DEPARTMENT SCORECARD
Department |  |  |  |  | Instruments |  |  |  | Overdue |  |  | On-time % |  |  |  | Status
QC Lab |  |  |  |  | 74 |  |  |  | 0 |  |  | 100% |  |  |  | ON TRACK
Production |  |  |  |  | 32 |  |  |  | 5 |  |  | 84.38% |  |  |  | ACTION NEEDED
Warehouse |  |  |  |  | 11 |  |  |  | 1 |  |  | 90.91% |  |  |  | WATCH
Engineering |  |  |  |  | 11 |  |  |  | 0 |  |  | 100% |  |  |  | ON TRACK
Microbiology |  |  |  |  | 32 |  |  |  | 2 |  |  | 93.75% |  |  |  | ON TRACK
All |  |  |  |  | 160 |  |  |  | 8 |  |  | 95% |  |  |  | ON TRACK
Sample dashboard built with made-up data for portfolio demonstration. Not client work.
Simulated register; not a validated system. Replace 'Data' columns A:E with your own register and set the as-of date on 'Calc'.

## Calc
Calculation sheet - feeds the Dashboard
As-of date (editable) | 2026-10-09 |  |  | Department | Instruments | Overdue | Due 30d | In date | On-time % | Status | Type | Total | Overdue | Due 30d
Selected department | All |  |  | QC Lab | 74 | 0 | 16 | 58 | 100% | ON TRACK | Balance | 22 | 4 | 7
Department key | * |  |  | Production | 32 | 5 | 7 | 20 | 84.38% | ACTION NEEDED | pH Meter | 16 | 0 | 7
|  |  |  | Warehouse | 11 | 1 | 3 | 7 | 90.91% | WATCH | HPLC | 16 | 0 | 2
Longest overdue (days) | 59 |  |  | Engineering | 11 | 0 | 1 | 10 | 100% | ON TRACK | Thermometer | 15 | 2 | 0
Next due (days) | 1 |  |  | Microbiology | 32 | 2 | 8 | 22 | 93.75% | ON TRACK | Pressure Gauge | 21 | 1 | 5
|  |  |  | All | 160 | 8 | 35 | 117 | 95% | ON TRACK | Autoclave Sensor | 23 | 1 | 5
[11 empty] | Pipette | 18 | 0 | 3
Status mix (selected dept) | [10 empty] | Spectrophotometer | 29 | 0 | 6
Overdue | 8
Due in 30 days | 35
In date | 117
Bucket | Month | Calibrations due | Cumulative due
-1 | Overdue | 8 | 8
0 | Oct | 26 | 34
1 | Nov | 32 | 66
2 | Dec | 34 | 100
3 | Jan | 19 | 119
4 | Feb | 12 | 131
5 | Mar | 9 | 140
6 | Apr | 3 | 143
7 | May | 2 | 145
8 | Jun | 4 | 149
9 | Jul | 7 | 156
10 | Aug | 4 | 160
11 | Sep+ | 0 | 160
Formulas:
Month = TEXT(EDATE(DATE(YEAR(B3),MONTH(B3),1),[As-of date (editable)]),"mmm")
Month = TEXT(EDATE(DATE(YEAR(B3),MONTH(B3),1),[As-of date (editable)]),"mmm")&"+"

## Data
ID | Dept | Type | LastCal | IntervalDays | DueDate | DaysToDue | Status | Bucket | Instrument calibration register - SAMPLE DATA (simulated, no real equipment or company data). Replace columns A:E with your own register; F:I are formulas.
INS-1001 | QC Lab | Spectrophotometer | 2026-08-14 | 365 | 2027-08-14 | 1900-11-04 | OK | 10
INS-1002 | Microbiology | Autoclave Sensor | 2026-04-28 | 180 | 2026-10-25 | 1900-01-15 | Due 30d | 0
INS-1003 | QC Lab | Spectrophotometer | 2026-02-26 | 365 | 2027-02-26 | 1900-05-19 | OK | 4
INS-1004 | QC Lab | Spectrophotometer | 2026-07-22 | 365 | 2027-07-22 | 1900-10-12 | OK | 9
INS-1005 | Production | Pressure Gauge | 2026-04-21 | 365 | 2027-04-21 | 1900-07-12 | OK | 6
INS-1006 | QC Lab | pH Meter | 2026-07-13 | 90 | 2026-10-11 | 1900-01-01 | Due 30d | 0
INS-1007 | Engineering | Thermometer | 2026-01-23 | 365 | 2027-01-23 | 1900-04-15 | OK | 3
INS-1008 | QC Lab | Spectrophotometer | 2026-07-05 | 365 | 2027-07-05 | 1900-09-25 | OK | 9
INS-1009 | Engineering | Pressure Gauge | 2025-11-21 | 365 | 2026-11-21 | 1900-02-11 | OK | 1
INS-1010 | Production | Autoclave Sensor | 2026-06-22 | 180 | 2026-12-19 | 1900-03-11 | OK | 2
INS-1011 | QC Lab | Spectrophotometer | 2025-10-22 | 365 | 2026-10-22 | 1900-01-12 | Due 30d | 0
INS-1012 | Production | Autoclave Sensor | 2026-08-27 | 180 | 2027-02-23 | 1900-05-16 | OK | 4
INS-1013 | QC Lab | Balance | 2026-08-30 | 90 | 2026-11-28 | 1900-02-18 | OK | 1
INS-1014 | Microbiology | Thermometer | 2025-12-21 | 365 | 2026-12-21 | 1900-03-13 | OK | 2
INS-1015 | Production | Autoclave Sensor | 2026-07-30 | 180 | 2027-01-26 | 1900-04-18 | OK | 3
INS-1016 | QC Lab | HPLC | 2026-04-26 | 180 | 2026-10-23 | 1900-01-13 | Due 30d | 0
INS-1017 | QC Lab | Spectrophotometer | 2025-12-19 | 365 | 2026-12-19 | 1900-03-11 | OK | 2
INS-1018 | Microbiology | Pipette | 2026-07-17 | 180 | 2027-01-13 | 1900-04-05 | OK | 3
INS-1019 | Microbiology | Balance | 2026-08-20 | 90 | 2026-11-18 | 1900-02-08 | OK | 1
INS-1020 | QC Lab | Spectrophotometer | 2026-07-18 | 365 | 2027-07-18 | 1900-10-08 | OK | 9
INS-1021 | QC Lab | Balance | 2026-08-20 | 90 | 2026-11-18 | 1900-02-08 | OK | 1
INS-1022 | QC Lab | pH Meter | 2026-08-14 | 90 | 2026-11-12 | 1900-02-02 | OK | 1
INS-1023 | Microbiology | pH Meter | 2026-07-28 | 90 | 2026-10-26 | 1900-01-16 | Due 30d | 0
INS-1024 | QC Lab | HPLC | 2026-04-27 | 180 | 2026-10-24 | 1900-01-14 | Due 30d | 0
INS-1025 | Microbiology | Autoclave Sensor | 2026-05-18 | 180 | 2026-11-14 | 1900-02-04 | OK | 1
INS-1026 | QC Lab | Spectrophotometer | 2026-05-10 | 365 | 2027-05-10 | 1900-07-31 | OK | 7
INS-1027 | QC Lab | Spectrophotometer | 2025-10-17 | 365 | 2026-10-17 | 1900-01-07 | Due 30d | 0
INS-1028 | QC Lab | Spectrophotometer | 2026-03-18 | 365 | 2027-03-18 | 1900-06-08 | OK | 5
INS-1029 | Microbiology | Autoclave Sensor | 2026-07-17 | 180 | 2027-01-13 | 1900-04-05 | OK | 3
INS-1030 | Warehouse | Pressure Gauge | 2025-11-25 | 365 | 2026-11-25 | 1900-02-15 | OK | 1
INS-1031 | Engineering | Pressure Gauge | 2025-10-29 | 365 | 2026-10-29 | 1900-01-19 | Due 30d | 0
INS-1032 | Production | pH Meter | 2026-08-09 | 90 | 2026-11-07 | 1900-01-28 | Due 30d | 1
INS-1033 | QC Lab | HPLC | 2026-07-03 | 180 | 2026-12-30 | 1900-03-22 | OK | 2
INS-1034 | Microbiology | Autoclave Sensor | 2026-07-24 | 180 | 2027-01-20 | 1900-04-12 | OK | 3
INS-1035 | Microbiology | Balance | 2026-07-09 | 90 | 2026-10-07 | -2 | Overdue | -1
INS-1036 | QC Lab | Pipette | 2026-06-05 | 180 | 2026-12-02 | 1900-02-22 | OK | 2
INS-1037 | Engineering | Pressure Gauge | 2026-01-26 | 365 | 2027-01-26 | 1900-04-18 | OK | 3
INS-1038 | Microbiology | Balance | 2026-07-07 | 90 | 2026-10-05 | -4 | Overdue | -1
INS-1039 | QC Lab | pH Meter | 2026-08-14 | 90 | 2026-11-12 | 1900-02-02 | OK | 1
INS-1040 | QC Lab | Spectrophotometer | 2025-10-19 | 365 | 2026-10-19 | 1900-01-09 | Due 30d | 0
INS-1041 | Production | pH Meter | 2026-09-08 | 90 | 2026-12-07 | 1900-02-27 | OK | 2
INS-1042 | QC Lab | Spectrophotometer | 2025-11-06 | 365 | 2026-11-06 | 1900-01-27 | Due 30d | 1
INS-1043 | QC Lab | Spectrophotometer | 2026-01-30 | 365 | 2027-01-30 | 1900-04-22 | OK | 3
INS-1044 | QC Lab | HPLC | 2026-06-03 | 180 | 2026-11-30 | 1900-02-20 | OK | 1
INS-1045 | QC Lab | Pipette | 2026-09-13 | 180 | 2027-03-12 | 1900-06-02 | OK | 5
INS-1046 | Warehouse | Pressure Gauge | 2025-10-23 | 365 | 2026-10-23 | 1900-01-13 | Due 30d | 0
INS-1047 | Warehouse | Pressure Gauge | 2025-10-15 | 365 | 2026-10-15 | 1900-01-05 | Due 30d | 0
INS-1048 | Production | Autoclave Sensor | 2026-05-26 | 180 | 2026-11-22 | 1900-02-12 | OK | 1
INS-1049 | Production | pH Meter | 2026-08-29 | 90 | 2026-11-27 | 1900-02-17 | OK | 1
INS-1050 | QC Lab | Spectrophotometer | 2026-05-19 | 365 | 2027-05-19 | 1900-08-09 | OK | 7
INS-1051 | QC Lab | Spectrophotometer | 2026-07-22 | 365 | 2027-07-22 | 1900-10-12 | OK | 9
INS-1052 | Production | Pressure Gauge | 2026-01-10 | 365 | 2027-01-10 | 1900-04-02 | OK | 3
INS-1053 | QC Lab | pH Meter | 2026-09-25 | 90 | 2026-12-24 | 1900-03-16 | OK | 2
INS-1054 | Microbiology | Balance | 2026-08-04 | 90 | 2026-11-02 | 1900-01-23 | Due 30d | 1
INS-1055 | Production | Balance | 2026-08-02 | 90 | 2026-10-31 | 1900-01-21 | Due 30d | 0
INS-1056 | QC Lab | Spectrophotometer | 2026-02-23 | 365 | 2027-02-23 | 1900-05-16 | OK | 4
INS-1057 | QC Lab | Spectrophotometer | 2026-06-08 | 365 | 2027-06-08 | 1900-08-29 | OK | 8
INS-1058 | Production | Pressure Gauge | 2025-12-13 | 365 | 2026-12-13 | 1900-03-05 | OK | 2
INS-1059 | QC Lab | Spectrophotometer | 2026-01-31 | 365 | 2027-01-31 | 1900-04-23 | OK | 3
INS-1060 | Warehouse | Pressure Gauge | 2026-06-28 | 365 | 2027-06-28 | 1900-09-18 | OK | 8
INS-1061 | Microbiology | Autoclave Sensor | 2026-07-11 | 180 | 2027-01-07 | 1900-03-30 | OK | 3
INS-1062 | QC Lab | HPLC | 2026-08-24 | 180 | 2027-02-20 | 1900-05-13 | OK | 4
INS-1063 | Production | Pressure Gauge | 2025-10-14 | 365 | 2026-10-14 | 1900-01-04 | Due 30d | 0
INS-1064 | Production | Thermometer | 2025-12-27 | 365 | 2026-12-27 | 1900-03-19 | OK | 2
INS-1065 | QC Lab | Spectrophotometer | 2025-11-15 | 365 | 2026-11-15 | 1900-02-05 | OK | 1
INS-1066 | QC Lab | HPLC | 2026-06-19 | 180 | 2026-12-16 | 1900-03-08 | OK | 2
INS-1067 | QC Lab | Balance | 2026-09-04 | 90 | 2026-12-03 | 1900-02-23 | OK | 2
INS-1068 | Production | Autoclave Sensor | 2026-06-09 | 180 | 2026-12-06 | 1900-02-26 | OK | 2
INS-1069 | Production | Balance | 2026-09-14 | 90 | 2026-12-13 | 1900-03-05 | OK | 2
INS-1070 | Engineering | Thermometer | 2026-08-15 | 365 | 2027-08-15 | 1900-11-05 | OK | 10
INS-1071 | QC Lab | Spectrophotometer | 2026-04-03 | 365 | 2027-04-03 | 1900-06-24 | OK | 6
INS-1072 | QC Lab | Pipette | 2026-05-02 | 180 | 2026-10-29 | 1900-01-19 | Due 30d | 0
INS-1073 | Microbiology | pH Meter | 2026-09-22 | 90 | 2026-12-21 | 1900-03-13 | OK | 2
INS-1074 | Production | Thermometer | 2025-10-07 | 365 | 2026-10-07 | -2 | Overdue | -1
INS-1075 | Production | Autoclave Sensor | 2026-08-13 | 180 | 2027-02-09 | 1900-05-02 | OK | 4
INS-1076 | Warehouse | Pressure Gauge | 2025-11-07 | 365 | 2026-11-07 | 1900-01-28 | Due 30d | 1
INS-1077 | Microbiology | Pipette | 2026-05-30 | 180 | 2026-11-26 | 1900-02-16 | OK | 1
INS-1078 | Production | Balance | 2026-08-03 | 90 | 2026-11-01 | 1900-01-22 | Due 30d | 1
INS-1079 | QC Lab | Spectrophotometer | 2026-08-07 | 365 | 2027-08-07 | 1900-10-28 | OK | 10
INS-1080 | QC Lab | Spectrophotometer | 2025-10-27 | 365 | 2026-10-27 | 1900-01-17 | Due 30d | 0
INS-1081 | QC Lab | pH Meter | 2026-07-25 | 90 | 2026-10-23 | 1900-01-13 | Due 30d | 0
INS-1082 | QC Lab | Pipette | 2026-05-25 | 180 | 2026-11-21 | 1900-02-11 | OK | 1
INS-1083 | QC Lab | pH Meter | 2026-09-22 | 90 | 2026-12-21 | 1900-03-13 | OK | 2
INS-1084 | QC Lab | Balance | 2026-09-19 | 90 | 2026-12-18 | 1900-03-10 | OK | 2
INS-1085 | Engineering | Thermometer | 2025-12-23 | 365 | 2026-12-23 | 1900-03-15 | OK | 2
INS-1086 | QC Lab | HPLC | 2026-07-12 | 180 | 2027-01-08 | 1900-03-31 | OK | 3
INS-1087 | Production | Thermometer | 2025-12-23 | 365 | 2026-12-23 | 1900-03-15 | OK | 2
INS-1088 | Production | Balance | 2026-07-08 | 90 | 2026-10-06 | -3 | Overdue | -1
INS-1089 | QC Lab | HPLC | 2026-08-14 | 180 | 2027-02-10 | 1900-05-03 | OK | 4
INS-1090 | QC Lab | Spectrophotometer | 2026-03-30 | 365 | 2027-03-30 | 1900-06-20 | OK | 5
INS-1091 | QC Lab | Pipette | 2026-07-17 | 180 | 2027-01-13 | 1900-04-05 | OK | 3
INS-1092 | QC Lab | pH Meter | 2026-09-04 | 90 | 2026-12-03 | 1900-02-23 | OK | 2
INS-1093 | Microbiology | Balance | 2026-09-18 | 90 | 2026-12-17 | 1900-03-09 | OK | 2
INS-1094 | Production | Thermometer | 2025-12-28 | 365 | 2026-12-28 | 1900-03-20 | OK | 2
INS-1095 | Microbiology | Pipette | 2026-06-25 | 180 | 2026-12-22 | 1900-03-14 | OK | 2
INS-1096 | Production | Autoclave Sensor | 2026-04-26 | 180 | 2026-10-23 | 1900-01-13 | Due 30d | 0
INS-1097 | Microbiology | Pipette | 2026-04-19 | 180 | 2026-10-16 | 1900-01-06 | Due 30d | 0
INS-1098 | Microbiology | Autoclave Sensor | 2026-05-11 | 180 | 2026-11-07 | 1900-01-28 | Due 30d | 1
INS-1099 | QC Lab | HPLC | 2026-06-29 | 180 | 2026-12-26 | 1900-03-18 | OK | 2
INS-1100 | QC Lab | Spectrophotometer | 2026-02-16 | 365 | 2027-02-16 | 1900-05-09 | OK | 4
INS-1101 | Engineering | Pressure Gauge | 2026-07-16 | 365 | 2027-07-16 | 1900-10-06 | OK | 9
INS-1102 | Engineering | Pressure Gauge | 2025-12-06 | 365 | 2026-12-06 | 1900-02-26 | OK | 2
INS-1103 | Microbiology | Autoclave Sensor | 2026-07-14 | 180 | 2027-01-10 | 1900-04-02 | OK | 3
INS-1104 | Production | Thermometer | 2026-06-09 | 365 | 2027-06-09 | 1900-08-30 | OK | 8
INS-1105 | QC Lab | HPLC | 2026-09-10 | 180 | 2027-03-09 | 1900-05-30 | OK | 5
INS-1106 | QC Lab | Balance | 2026-07-19 | 90 | 2026-10-17 | 1900-01-07 | Due 30d | 0
INS-1107 | QC Lab | HPLC | 2026-08-01 | 180 | 2027-01-28 | 1900-04-20 | OK | 3
INS-1108 | Warehouse | Thermometer | 2026-02-14 | 365 | 2027-02-14 | 1900-05-07 | OK | 4
INS-1109 | Engineering | Pressure Gauge | 2025-12-11 | 365 | 2026-12-11 | 1900-03-03 | OK | 2
INS-1110 | Warehouse | Pressure Gauge | 2026-06-15 | 365 | 2027-06-15 | 1900-09-05 | OK | 8
INS-1111 | QC Lab | Pipette | 2026-07-22 | 180 | 2027-01-18 | 1900-04-10 | OK | 3
INS-1112 | Microbiology | Thermometer | 2026-07-14 | 365 | 2027-07-14 | 1900-10-04 | OK | 9
INS-1113 | Engineering | Pressure Gauge | 2026-02-18 | 365 | 2027-02-18 | 1900-05-11 | OK | 4
INS-1114 | Production | Autoclave Sensor | 2026-07-26 | 180 | 2027-01-22 | 1900-04-14 | OK | 3
INS-1115 | Production | Thermometer | 2026-04-21 | 365 | 2027-04-21 | 1900-07-12 | OK | 6
INS-1116 | QC Lab | Pipette | 2026-07-07 | 180 | 2027-01-03 | 1900-03-26 | OK | 3
INS-1117 | QC Lab | Pipette | 2026-05-19 | 180 | 2026-11-15 | 1900-02-05 | OK | 1
INS-1118 | Production | Autoclave Sensor | 2026-04-25 | 180 | 2026-10-22 | 1900-01-12 | Due 30d | 0
INS-1119 | QC Lab | HPLC | 2026-08-26 | 180 | 2027-02-22 | 1900-05-15 | OK | 4
INS-1120 | QC Lab | Pipette | 2026-09-14 | 180 | 2027-03-13 | 1900-06-03 | OK | 5
INS-1121 | QC Lab | Balance | 2026-08-14 | 90 | 2026-11-12 | 1900-02-02 | OK | 1
INS-1122 | Microbiology | pH Meter | 2026-09-14 | 90 | 2026-12-13 | 1900-03-05 | OK | 2
INS-1123 | Microbiology | Pipette | 2026-08-20 | 180 | 2027-02-16 | 1900-05-09 | OK | 4
INS-1124 | QC Lab | Spectrophotometer | 2026-08-15 | 365 | 2027-08-15 | 1900-11-05 | OK | 10
INS-1125 | Production | pH Meter | 2026-07-23 | 90 | 2026-10-21 | 1900-01-11 | Due 30d | 0
INS-1126 | QC Lab | Balance | 2026-07-20 | 90 | 2026-10-18 | 1900-01-08 | Due 30d | 0
INS-1127 | Microbiology | Balance | 2026-07-15 | 90 | 2026-10-13 | 1900-01-03 | Due 30d | 0
INS-1128 | QC Lab | HPLC | 2026-06-19 | 180 | 2026-12-16 | 1900-03-08 | OK | 2
INS-1129 | Warehouse | Thermometer | 2025-12-30 | 365 | 2026-12-30 | 1900-03-22 | OK | 2
INS-1130 | Engineering | Pressure Gauge | 2025-12-23 | 365 | 2026-12-23 | 1900-03-15 | OK | 2
INS-1131 | QC Lab | Spectrophotometer | 2026-07-14 | 365 | 2027-07-14 | 1900-10-04 | OK | 9
INS-1132 | Warehouse | Pressure Gauge | 2025-11-20 | 365 | 2026-11-20 | 1900-02-10 | OK | 1
INS-1133 | Microbiology | Autoclave Sensor | 2026-06-08 | 180 | 2026-12-05 | 1900-02-25 | OK | 2
INS-1134 | QC Lab | Balance | 2026-08-23 | 90 | 2026-11-21 | 1900-02-11 | OK | 1
INS-1135 | QC Lab | HPLC | 2026-05-19 | 180 | 2026-11-15 | 1900-02-05 | OK | 1
INS-1136 | Microbiology | Autoclave Sensor | 2026-04-13 | 180 | 2026-10-10 | 1899-12-31 | Due 30d | 0
INS-1137 | QC Lab | Balance | 2026-09-19 | 90 | 2026-12-18 | 1900-03-10 | OK | 2
INS-1138 | QC Lab | HPLC | 2026-07-15 | 180 | 2027-01-11 | 1900-04-03 | OK | 3
INS-1139 | Microbiology | Balance | 2026-08-31 | 90 | 2026-11-29 | 1900-02-19 | OK | 1
INS-1140 | QC Lab | Spectrophotometer | 2026-03-05 | 365 | 2027-03-05 | 1900-05-26 | OK | 5
INS-1141 | Microbiology | Autoclave Sensor | 2026-05-30 | 180 | 2026-11-26 | 1900-02-16 | OK | 1
INS-1142 | Microbiology | Thermometer | 2025-12-20 | 365 | 2026-12-20 | 1900-03-12 | OK | 2
INS-1143 | QC Lab | Spectrophotometer | 2025-11-01 | 365 | 2026-11-01 | 1900-01-22 | Due 30d | 1
INS-1144 | QC Lab | Pipette | 2026-05-08 | 180 | 2026-11-04 | 1900-01-25 | Due 30d | 1
INS-1145 | Microbiology | pH Meter | 2026-08-09 | 90 | 2026-11-07 | 1900-01-28 | Due 30d | 1
INS-1146 | Warehouse | Thermometer | 2025-08-11 | 365 | 2026-08-11 | -59 | Overdue | -1
INS-1147 | Microbiology | Pipette | 2026-05-29 | 180 | 2026-11-25 | 1900-02-15 | OK | 1
INS-1148 | Production | Pressure Gauge | 2025-09-14 | 365 | 2026-09-14 | -25 | Overdue | -1
INS-1149 | Production | Autoclave Sensor | 2026-08-27 | 180 | 2027-02-23 | 1900-05-16 | OK | 4
INS-1150 | Microbiology | Autoclave Sensor | 2026-09-13 | 180 | 2027-03-12 | 1900-06-02 | OK | 5
INS-1151 | Warehouse | Pressure Gauge | 2026-03-29 | 365 | 2027-03-29 | 1900-06-19 | OK | 5
INS-1152 | Production | Balance | 2026-07-09 | 90 | 2026-10-07 | -2 | Overdue | -1
INS-1153 | Production | Autoclave Sensor | 2026-04-03 | 180 | 2026-09-30 | -9 | Overdue | -1
INS-1154 | QC Lab | Spectrophotometer | 2025-12-30 | 365 | 2026-12-30 | 1900-03-22 | OK | 2
INS-1155 | QC Lab | Balance | 2026-07-19 | 90 | 2026-10-17 | 1900-01-07 | Due 30d | 0
INS-1156 | QC Lab | pH Meter | 2026-07-31 | 90 | 2026-10-29 | 1900-01-19 | Due 30d | 0
INS-1157 | Microbiology | Pipette | 2026-06-14 | 180 | 2026-12-11 | 1900-03-03 | OK | 2
INS-1158 | QC Lab | HPLC | 2026-09-16 | 180 | 2027-03-15 | 1900-06-05 | OK | 5
INS-1159 | QC Lab | Pipette | 2026-05-27 | 180 | 2026-11-23 | 1900-02-13 | OK | 1
INS-1160 | Production | Autoclave Sensor | 2026-07-22 | 180 | 2027-01-18 | 1900-04-10 | OK | 3
Formulas:
DueDate = [LastCal]+[IntervalDays]
DaysToDue = [DueDate]-Calc!$B3